## Cover
[DOCUMENT TITLE]
Infrastructure Costs
Presales Document
Generated: | November 16, 2025
Solution: | November 22, 2025
Customer: | Dgx Superpod
Version: | [Customer Name]
Status: | Draft
eoframework.org

## Sizing Guidelines
Sizing Guidelines
Category | Component | Small | Medium | Large | Notes
GPU Infrastructure | DGX H100 Systems | 4 systems (32 GPUs) | 8 systems (64 GPUs) | 16 systems (128 GPUs) | 8x H100 80GB GPUs per system
AI Performance | FP8 Performance | 16 petaFLOPS | 32 petaFLOPS | 64 petaFLOPS | Tensor Core AI compute
GPU Memory | Total GPU Memory | 2.56 TB | 5.12 TB | 10.24 TB | 80 GB per GPU aggregate
Network Fabric | InfiniBand Switches | 2 Quantum-2 (400G) | 4 Quantum-2 (400G) | 8 Quantum-2 (400G) | High-speed GPU-to-GPU fabric
Storage Capacity | NVMe Storage | 500 TB | 1 PB | 2 PB | All-flash high-performance storage
Storage Throughput | Read/Write Performance | 7 GB/s | 14 GB/s | 28 GB/s | Parallel file system throughput
Power Requirements | Total Power Draw | 250 kW | 500 kW | 1000 kW | Including cooling overhead
Cooling Requirements | BTU/Hour | 850000 BTU | 1700000 BTU | 3400000 BTU | Datacenter cooling capacity needed
Research Capacity | Data Scientists Supported | 20-30 users | 50-75 users | 100+ users | Concurrent user capacity
Typical Workload | Example Use Case | Fine-tuning models <50B params | Training models 50B-500B params | Training models >500B params and LLM research | Primary workload sizing

## Infrastructure Costs
Infrastructure Costs
Category | Component | Description | Quantity | Unit | Unit Price | Annual Cost | Year 2 | Year 3 | 3-Year Total | Notes
Hardware | NVIDIA DGX H100 System | DGX H100 with 8x H100 80GB GPUs per system | 8 | Systems | 450000 |  |  |  |  | Flagship AI supercomputer
Hardware | NVIDIA Quantum-2 InfiniBand Switch | 400 Gbps InfiniBand fabric switches | 4 | Switches | 85000 |  |  |  |  | High-speed interconnect
Hardware | NVIDIA Base Command Storage | 1 PB NVMe all-flash storage cluster | 1 | System | 400000 |  |  |  |  | High-performance parallel file system
Hardware | Rack Infrastructure | Server racks with PDUs and cable management | 4 | Racks | 15000 |  |  |  |  | Physical infrastructure
Facilities | Datacenter Power Upgrade | 500 kW power distribution and electrical upgrades | 1 | System | 150000 |  |  |  |  | 480V power infrastructure
Facilities | Cooling System Installation | In-row cooling for high-density GPU compute | 2 | Units | 75000 |  |  |  |  | Thermal management
Facilities | Raised Floor & Cabling | Datacenter floor preparation and network cabling | 1 | Build-out | 50000 |  |  |  |  | Site preparation
Software Licenses | NVIDIA AI Enterprise | AI software suite (5-year subscription per GPU) | 64 | GPU Licenses | 3000 |  |  |  |  | CUDA RAPIDS TensorRT NGC
Software Licenses | Base Command Manager | Cluster management and job scheduling platform | 1 | Cluster License | 50000 |  |  |  |  | Infrastructure orchestration
Software Licenses | Monitoring & Observability | Datadog Enterprise monitoring (20 hosts) | 20 | Hosts/Month | 31 |  |  |  |  | Infrastructure and GPU monitoring
Support & Maintenance | NVIDIA DGX Support | Enterprise support with 4-hour response (annual) | 8 | Systems | 35000 |  |  |  |  | 24x7 mission-critical support
Support & Maintenance | Storage Support | Annual hardware and software maintenance | 1 | System/Year | 40000 |  |  |  |  | Storage system support
Professional Services | Site Assessment & Planning | Facilities assessment and deployment planning | 80 | Hours | 250 |  |  |  |  | Pre-deployment engineering
Professional Services | Installation & Configuration | DGX system installation and InfiniBand setup | 200 | Hours | 250 |  |  |  |  | System deployment
Professional Services | Network & Storage Setup | InfiniBand fabric and storage cluster configuration | 120 | Hours | 250 |  |  |  |  | Network and storage integration
Professional Services | Software & Workload Setup | NGC container deployment and AI framework setup | 80 | Hours | 250 |  |  |  |  | Software stack configuration
Professional Services | Performance Optimization | Workload benchmarking and performance tuning | 60 | Hours | 250 |  |  |  |  | AI workload optimization
Professional Services | Administrator Training | Technical training for infrastructure team | 40 | Hours | 200 |  |  |  |  | Knowledge transfer
Professional Services | User Training | AI researcher and data scientist training | 24 | Hours | 200 |  |  |  |  | End-user enablement
Professional Services | Project Management | End-to-end project coordination and delivery | 160 | Hours | 175 |  |  |  |  | Implementation oversight
TOTAL

## Credits
Credits
Category | Credit Type | Credit Amount | Credit Comments
Hardware | NVIDIA Volume Discount | -180000 | 5% discount on DGX systems for 8-unit purchase
Software Licenses | AI Enterprise Bundle Credit | -15000 | Included with DGX purchase - Year 1 software credit
Professional Services | Partner Services Credit | 0 | No professional services credits available
Facilities | Infrastructure Credit | 0 | No facilities credits available

## 3-Year Summary
3-Year Summary
Category | Year 1 List | Year 1 Credits | Year 1 Net | Year 2 | Year 3 | 3-Year Total
Hardware
Facilities
Software Licenses
Support & Maintenance
Professional Services
TOTAL